## Sheet1
18"x18"x0.25" aluminum plate | 1 | 89155K27
u-bolts | 4 | 8896T26
nuts for u-bolts | 4 | 91831A127
rubber padding for u-bolts | 3 | 2614T74
washers for u-bolts | 1 | 93852A104
airport express | 1 | http://www.amazon.com/gp/product/B008ALA2RC/ref=ox_sc_act_title_1?ie=UTF8&psc=1&smid=ATVPDKIKX0DER
airport express bracket | 1 | http://www.amazon.com/Out-Sight-Bracket-White--AirPort-Express/dp/B009MRBKXS/ref=sr_1_1?s=electronics&ie=UTF8&qid=1393349304&sr=1-1&keywords=airport+express+bracket
3v power cupply | 1 | 102-3199-ND
12v power supply | 1 | 603-1237-ND
relay module | 1 | http://www.amazon.com/gp/product/B0057OC5O8/ref=oh_details_o00_s00_i00?ie=UTF8&psc=1
ethernet arduino | 1 | https://www.sparkfun.com/products/11229
external temperautre sensor | 1 | https://www.sparkfun.com/products/11931
protoshield | 1 | https://www.sparkfun.com/products/9729
on board temperautre | 1 | https://www.sparkfun.com/products/10988
peltier heat pump | 1 | http://www.allelectronics.com/make-a-store/item/PJT-10/LARGE-THERMOELECTRIC-DEVICE/1.html
extension cord |  | 7438K32
outlet cover |  | http://www.amazon.com/MM710C-Weatherproof-Outdoor-Receptacle-Protector/dp/B0013FRYH8/ref=sr_1_2?ie=UTF8&qid=1394224706&sr=8-2&keywords=outdoor+outlet+cover
12"x24" aluminum for enclosure | x | 8975K142
enclosure | x | 7335K23
panel for enclosure | x | 7335K43
1" wide bar for straping bar to post | x | 8975K596
bolts for straping enclosure to post | x | 91771A571
fan | 2 | 603-1364-ND
5v power supply |  | 102-3200-ND
din rail |  | ADR3575-S0300-ND
conduit | 10' | 7609K4
conduit fittings |  | 75145K33
90 degree conduit fitting |  | 75145K83
5' ethernet cable
7' ethernet cable
bolts for enclosure |  | 96755A329
cord grip for power |  | 69915K53
silicon sealent |  | 7545A451
1-1/4" 6-32 standoffs |  | 91115A560
1-3/8" 6-32 machine screws |  | 91772A156
outside fan |  | AQ1212LB-A71GL-LF